## Identified Deficiencies
| DEFICIENCY/OBSERVATION (inspection recommendation #) | CORRECTIVE MEASURE
1 | The gravel access road on the embankment crest has been disturbed due to construction in this area and needs replacement. | Gravel access road along portion of the south embankment crest was repaired around perimeter of pond.